Senate File 261 - Enrolled

PAG LIN

1  1                                         SENATE FILE 261

1  2

1  3                             AN ACT

1  4 REQUIRING CERTAIN PRIVATE SEWAGE DISPOSAL SYSTEM=RELATED

1  5    INSPECTIONS TO BE CONDUCTED WHEN CERTAIN PROPERTY IS SOLD

1  6    OR TRANSFERRED AND INCLUDING AN EFFECTIVE DATE PROVISION.

1  7

1  8 BE IT ENACTED BY THE GENERAL ASSEMBLY OF THE STATE OF IOWA:

1  9

1 10    Section 1.  Section 455B.172, Code 2007, is amended by

1 11 adding the following new subsection:

1 12    NEW SUBSECTION.  11.  a.  A building where a person

1 13 resides, congregates, or is employed that is served by a

1 14 private sewage disposal system shall have the sewage disposal

1 15 system serving the building inspected prior to any transfer of

1 16 ownership of the building.  The requirements of this

1 17 subsection shall be applied to all types of ownership transfer

1 18 including at the time a seller financed real estate contract

1 19 is signed.  The county recorder shall not record a deed or any

1 20 other property transfer or conveyance document until either a

1 21 certified inspector's report is provided which documents the

1 22 condition of the private sewage disposal system and whether

1 23 any modifications are required to conform to standards adopted

1 24 by the department or, in the event that weather or other

1 25 temporary physical conditions prevent the certified inspection

1 26 from being conducted, the buyer has executed and submitted a

1 27 binding acknowledgment with the county board of health to

1 28 conduct a certified inspection of the private sewage disposal

1 29 system at the earliest practicable time and to be responsible

1 30 for any required modifications to the private sewage disposal

1 31 system as identified by the certified inspection.  Any type of

1 32 on=site treatment unit or private sewage disposal system must

1 33 be inspected according to rules developed by the department.

1 34 For the purposes of this subsection, "transfer" means the

1 35 transfer or conveyance by sale, exchange, real estate

2  1 contract, or any other method by which real estate and

2  2 improvements are purchased, if the property includes at least

2  3 one but not more than four dwelling units.  However,

2  4 "transfer" does not include any of the following:

2  5    (1)  A transfer made pursuant to a court order, including

2  6 but not limited to a transfer under chapter 633 or 633A, the

2  7 execution of a judgment, the foreclosure of a real estate

2  8 mortgage pursuant to chapter 654, the forfeiture of a real

2  9 estate contract under chapter 656, a transfer by a trustee in

2 10 bankruptcy, a transfer by eminent domain, or a transfer

2 11 resulting from a decree for specific performance.

2 12    (2)  A transfer to a mortgagee by a mortgagor or successor

2 13 in interest who is in default, or a transfer by a mortgagee

2 14 who has acquired real property at a sale conducted pursuant to

2 15 chapter 654, a transfer back to a mortgagor exercising a right

2 16 of first refusal pursuant to section 654.16A, a nonjudicial

2 17 voluntary foreclosure procedure under section 654.18 or

2 18 chapter 655A, or a deed in lieu of foreclosure under section

2 19 654.19.

2 20    (3)  A transfer by a fiduciary in the course of the

2 21 administration of a decedent's estate, guardianship,

2 22 conservatorship, or trust.

2 23    (4)  A transfer between joint tenants or tenants in common.

2 24    (5)  A transfer made to a spouse, or to a person in the

2 25 lineal line of consanguinity of a person making the transfer.

2 26    (6)  A transfer between spouses resulting from a decree of

2 27 dissolution of marriage, a decree of legal separation, or a

2 28 property settlement agreement which is incidental to the

2 29 decree, including a decree ordered pursuant to chapter 598.

2 30    b.  The inspection requirement of paragraph "a" does not

2 31 apply to a transfer in which the transferee intends to

2 32 demolish or raze the building.  The department shall adopt

2 33 rules pertaining to such transfers.

2 34    c.  At the time of inspection, any septic tank existing as

2 35 part of the sewage disposal system shall be opened and have

3  1 the contents pumped out and disposed of as provided for by

3  2 rule.  In the alternative, the owner may provide evidence of

3  3 the septic tank being properly pumped out within three years

3  4 prior to the inspection by a commercial septic tank cleaner

3  5 licensed by the department which shall include documentation

3  6 of the size and condition of the tank and its components at

3  7 the time of such occurrence.

3  8    d.  If a private sewage disposal system is failing to

3  9 ensure effective wastewater treatment or is otherwise

3 10 improperly functioning, the private sewage disposal system

3 11 shall be renovated to meet current construction standards, as

3 12 adopted by the department, either by the seller or, by

3 13 agreement, within a reasonable time period as determined by

3 14 the county or the department, by the buyer.  If the private

3 15 sewage disposal system is properly treating the wastewater and

3 16 not creating an unsanitary condition in the environment at the

3 17 time of inspection, the system is not required to meet current

3 18 construction standards.

3 19    e.  Inspections shall be conducted by an inspector

3 20 certified by the department.

3 21    f.  Pursuant to chapter 17A, the department shall adopt

3 22 certification requirements for inspectors including training,

3 23 testing, and fees, and shall establish uniform statewide

3 24 inspection criteria and an inspection form.  The inspector

3 25 certification training shall include use of the criteria and

3 26 form.  The department shall maintain a list of certified

3 27 inspectors.

3 28    g.  County personnel are eligible to become certified

3 29 inspectors.  A county may set an inspection fee for

3 30 inspections conducted by certified county personnel.  A county

3 31 shall allow any department certified inspector to provide

3 32 inspection services under this subsection within the county's

3 33 jurisdiction.

3 34    h.  Following an inspection, the inspection form and any

3 35 related reports shall be provided to the county for

4  1 enforcement of any follow=up mandatory system improvement and

4  2 to the department for record.

4  3    i.  An inspection is valid for a period of two years for

4  4 any ownership transfers during that period.  Title abstracts

4  5 to property with private sewage disposal systems shall include

4  6 documentation of the requirements in this subsection.

4  7    Sec. 2.  EFFECTIVE DATE.  This Act takes effect July 1,

4  8 2009.

4  9

4 10

4 11

4 12                               JOHN P. KIBBIE

4 13                               President of the Senate

4 14

4 15

4 16

4 17                               PATRICK J. MURPHY

4 18                               Speaker of the House

4 19

4 20    I hereby certify that this bill originated in the Senate and

4 21 is known as Senate File 261, Eighty=second General Assembly.

4 22

4 23

4 24

4 25                               MICHAEL E. MARSHALL

4 26                               Secretary of the Senate

4 27 Approved                , 2008

4 28

4 29

4 30

4 31 CHESTER J. CULVER

4 32 Governor